## Sheet1
IFB PUR 26-005 Furnish and Deliver Electrical Materials Bid Form - ATTACHMENT A
BIDDER: _________________________________________________________________
PGCPS reserves the right to make award on all items in aggregate, by individual line items, group, or manufacturer. A bidder may restrict his or her bid to consideration in the aggregate by so stating but shall name a single unit price on each item bid. Any bid in which the bidder names a total price for all the articles without quoting a unit price for each and every separate item may not be considered for award. **BRAND NAMES REQUIRED WHERE SPECIFIED**
GROUP 1 - WIRE, VINYL INSULATED, Nylon Jacket, Type THHN, 600 volt, gasoline and oil resistant, in 500' rolls per carton
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
1 | 6 THHN Stranded Black Southwire or equal | 6145-0095 | Roll | 50 |  |  |  | 0
2 | 8 THHN Stranded Black Southwire or equal | 6145-0005 | Roll | 10 |  |  |  | 0
3 | 10 THHN Solid Black Southwire or equal | 6145-0019 | Roll | 25 |  |  |  | 0
4 | 10 THHN Solid Blue Southwire or equal | 6145-0016 | Roll | 20 |  |  |  | 0
5 | 10 THHN Solid Green Southwire or equal | 6145-0013 | Roll | 15 |  |  |  | 0
6 | 10 THHN Solid Red Southwire or equal | 6145-0018 | Roll | 25 |  |  |  | 0
7 | 10 THHN Solid White Southwire or equal | 6145-0017 | Roll | 15 |  |  |  | 0
8 | 10 THHN Stranded Black Southwire or equal | 6145-0022 | Roll | 2 |  |  |  | 0
9 | 12 THHN Solid Black Southwire or equal | 6145-0039 | Roll | 65 |  |  |  | 0
10 | 12 THHN Solid Blue Southwire or equal | 6145-0041 | Roll | 40 |  |  |  | 0
11 | 12 THHN Solid Green Southwire or equal | 6145-0001 | Roll | 20 |  |  |  | 0
12 | 12 THHN Solid Red Southwire or equal | 6145-0040 | Roll | 60 |  |  |  | 0
13 | 12 THHN Solid White Southwire or equal | 6145-0042 | Roll | 100 |  |  |  | 0
14 | 12 THHN Stranded Blue Southwire or equal | 6145-0047 | Roll | 5 |  |  |  | 0
15 | 12 THHN Stranded Red Southwire or equal | 6145-0046 | Roll | 5 |  |  |  | 0
16 | 12 THHN Stranded White Southwire or equal | 6145-0045 | Roll | 2 |  |  |  | 0
17 | 14 THHN Solid Black Southwire or equal | 6145-0069 | Roll | 10 |  |  |  | 0
18 | 14 THHN Solid Blue Southwire or equal | 6145-0067 | Roll | 10 |  |  |  | 0
19 | 14 THHN Solid Orange Southwire or equal | 6145-0073 | Roll | 10 |  |  |  | 0
20 | 14 THHN Solid Red Southwire or equal | 6145-0068 | Roll | 15 |  |  |  | 0
21 | 14 THHN Solid White Southwire or equal | 6145-0070 | Roll | 10 |  |  |  | 0
22 | 14 THHN Solid Yellow Southwire or equal | 6145-0071 | Roll | 10 |  |  |  | 0
23 | Wire, #6 Bare Copper | 6145-0058 | Roll | 5 |  |  |  | 0
GROUP 2 - MISCELLANEOUS CABLE, CORDS, WIRE, AND RELATED ACCESSORIES
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
24 | Cable, MC, 12/2, 600V, Aluminum Armor, 250 ft. roll, American Flex or equal | 6145-0035 | Roll | 75 |  |  |  | 0
25 | Cable, MC, 12/3, 600V, Aluminum Armor, 250 ft. roll, American Flex or equal | 6145-0036 | Roll | 15 |  |  |  | 0
26 | Cable, UF Type, 10/3, 600V; in 250 ft. rolls | 6145-0081 | Roll | 5 |  |  |  | 0
27 | Cord, Type S, 14/3, Rubber Portable Service, 600V, 250 ft. roll Carol or equal | 6145-0079 | Roll | 5 |  |  |  | 0
28 | Cord, Type SJ, 14/3, Rubber Portable, 300V, 250 ft. roll Carol or equal | 6145-0084 | Roll | 10 |  |  |  | 0
29 | Cord, Type SJ, 16/3, Rubber Portable,Carol or equal | 6145-0083 | Roll | 15 |  |  |  | 0
30 | Lights, Trouble, Rubber jacketed with 3-wire outlets on both sides of handle, with guard to hook, 25 ft. cord, Carol 4498 or equal | 6230-8898 | Each | 150 |  |  |  | 0
31 | 6/3 UF Cable, w/ground copper, 500 ft. rolls ONLY | 6145-0086 | Roll | 20 |  |  |  | 0
32 | 1-1/2” PVC Conduit Schedule 40, 10’ length | 5975-2359 | Lgth | 200 |  |  |  | 0
33 | 1-1/2” PVC Conduit Factory 90 | 5975-0507 | Each | 100 |  |  |  | 0
34 | 1-1/2” Male Adapter | 5975-0340 | Each | 100 |  |  |  | 0
35 | 1-1/2” Coupling | 5975-0358 | Each | 250 |  |  |  | 0
36 | 1-1/2” PVC Factory 45° bend | 5975-0504 | Each | 50 |  |  |  | 0
37 | 10-2 MC Cable, 250’ roll | 6145-0034 | Roll | 25 |  |  |  | 0
38 | 1-1/2” Coupling EMT (compression) | 5975-0364 | Each | 100 |  |  |  | 0
39 | 1-1/2” EMT Pipe, 10’ length | 5975-2349 | Lgth | 75 |  |  |  | 0
GROUP 3 - RACEWAY AND RELATED FITTINGS
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
40 | Tie Straps, Cable, 7.31" lgth, 1/16" thru 1-3/4" dia. range, Thomas & Betts TY25M ONLY (Pack of 100) | 5975-1166 | Pack | 60 |  |  |  | 0
41 | Wire, Lamp Cord, type SPT, 18/2, 250 ft. roll. Carol Cable or equal | 6145-0060 | Roll | 7 |  |  |  | 0
42 | Wire, Thermostat, 18/5, with Plastic Jacket, 250 ft. roll Carol Cable or equal | 6145-0091 | Roll | 3 |  |  |  | 0
43 | Wire, Thermostat, 18/2 Plastic Jacket, 250 ft. roll, Carol Cable or equal | 6145-0080 | Roll | 4 |  |  |  | 0
44 | Adapter, Fitting, Wiremold V1517A | 5975-0304 | Each | 10 |  |  |  | 0
45 | Adapter, Flush Extension, Wiremold V5751 | 5975-0279 | Each | 225 |  |  |  | 0
46 | Adapter, Flush Extension, Wiremold V5751-2 | 5975-0278 | Each | 30 |  |  |  | 0
47 | Box, Gang Shallow Switch and Receptacle, Wiremold V5747-2 | 5975-0253 | Each | 15 |  |  |  | 0
48 | Box, Shallow Switch and Receptacle, Wiremold V5747 | 5975-0271 | Each | 30 |  |  |  | 0
49 | Box, Switch and Receptacle, Wiremold V5745 | 5975-0258 | Each | 150 |  |  |  | 0
50 | Box, Switch and Receptacle, Wiremold V5748 | 5975-0266 | Each | 600 |  |  |  | 0
51 | Box, Switch and Receptacle, Wiremold V5748-2 | 5975-0265 | Each | 75 |  |  |  | 0
52 | Bushing, Wiremold V702 | 5975-0246 | Each | 1000 |  |  |  | 0
53 | Channel, (10 lin. ft. lgths.) Wiremold V700 | 5975-2355 | Lgth | 500 |  |  |  | 0
54 | Channel, (10 lin. ft. lgths.) Wiremold V1500 | 5975-2357 | Lgth | 10 |  |  |  | 0
55 | Connectors, Box, 1/2" male, Wiremold V5781 | 5975-0291 | Each | 20 |  |  |  | 0
56 | Connectors, Combination, Wiremold V5785 | 5975-0289 | Each | 200 |  |  |  | 0
57 | Connector, Offset, Wiremold V5786 | 5975-0288 | Each | 40 |  |  |  | 0
58 | Elbow, 90o, Flat, Wiremold V711 | 5975-0243 | Each | 200 |  |  |  | 0
59 | Elbow, 90o, Flat, Wiremold V1511 | 5975-0284 | Each | 10 |  |  |  | 0
60 | Elbow, External, Wiremold V718 | 5975-0241 | Each | 30 |  |  |  | 0
61 | Elbow, Internal, Wiremold V717 | 5975-0242 | Each | 60 |  |  |  | 0
62 | Elbow, Internal, Wiremold V5717A | 5975-0256 | Each | 10 |  |  |  | 0
63 | Receptacle, Grounding Duplex, Wiremold 1543GL | 5975-0283 | Each | 75 |  |  |  | 0
64 | Section, Flexible, 18" lgth., Wiremold V5700F | 5975-0238 | Each | 10 |  |  |  | 0
65 | Straps, Wiremold V704 | 5975-0245 | Each | 1800 |  |  |  | 0
66 | Tee, Wiremold V5715 | 5975-0255 | Each | 12 |  |  |  | 0
67 | Wiremold Box #5744 | 5975-0293 | Each | 25 |  |  |  | 0
68 | Wiremold 1500WC Wire Clip | 5975-0235 | Box | 10 |  |  |  | 0
69 | Kindorf Channel 905 Deep 10ft length | 5975-2364 | Each | 200 |  |  |  | 0
70 | Kindorf Channel 907 Shallow 10ft length | 5975-2354 | Each | 200 |  |  |  | 0
GROUP 4 - CONDUITS (EMT, RIGID, & FLEX), RELATED FITTINGS, AND ACCESSORIES
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
71 | Conduit, EMT, 1/2", (10 lin. ft. lgths.), Allied brand or equal | 5975-2350 | Lgth | 1300 |  |  |  | 0
72 | Conduit, EMT. 3/4", (10 lin. ft. lgths.), Allied brand or equal | 5975-2351 | Lgth | 1300 |  |  |  | 0
73 | Conduit, EMT, 1", (10 lin. ft. lgths.), Allied brand or equal | 5975-2353 | Lgth | 400 |  |  |  | 0
74 | Conduit, EMT, 1-1/4", (10 lin. ft. lgths.), Allied brand or equal | 5975-2352 | Lgth | 150 |  |  |  | 0
75 | Connector, 1/2", EMT Compression, Gedney SL-21, Bridgeport 250DC or equal | 5975-0366 | Each | 2000 |  |  |  | 0
76 | Connector, 3/4", EMT Compression, Gedney SL-23, Bridgeport 251DC or equal | 5975-0367 | Each | 1000 |  |  |  | 0
77 | Connector, 1", EMT Compression, Gedney SL-25, Bridgeport 252DC or equal | 5975-0368 | Each | 200 |  |  |  | 0
78 | Coupling, 1/2", EMT Compression, Gedney SL-22, Bridgeport 260DC or equal | 5975-0360 | Each | 600 |  |  |  | 0
79 | Coupling, 3/4", EMT Compression, Gedney SL-24, Bridgeport 261DC or equal | 5975-0361 | Each | 1000 |  |  |  | 0
80 | Coupling, 1", EMT Compression, Gedney SL-26 or equal | 5975-0362 | Each | 200 |  |  |  | 0
81 | Coupling, 1-1/4", EMT Compression, Gedney SL-28, Bridgeport 263DC or equal | 5975-0363 | Each | 250 |  |  |  | 0
82 | Straps, 1/2" EMT, Steel, Cadmium Plated one-hole snap type, double ribbed, Gedney 15-50S or equal | 5975-0544 | Each | 1600 |  |  |  | 0
83 | Straps, 3/4", EMT, Steel, Cadmium Plated one-hole snap type, double ribbed, Gedney 15-75S or equal | 5975-0545 | Each | 800 |  |  |  | 0
84 | Straps, 1", EMT, Steel, Cadmium Plated,one-hole snap type, double ribbed, Gedney 15-100S or equal | 5975-0546 | Each | 225 |  |  |  | 0
85 | Conduit, Rigid Steel, 1/2", galvanized, heavy-walled, (10 lin. ft. lgths.), Rigid type ONLY, Allied brand or equal | 5975-2360 | Lgth | 50 |  |  |  | 0
86 | Conduit, Rigid Steel, 3/4", galvanized, heavy- walled, (10 lin. ft. lgths.), Rigid type ONLY, Allied brand or equal | 5975-2361 | Lgth | 50 |  |  |  | 0
87 | Conduit, Rigid Steel, 1", galvanized, heavy-walled, (10 lin. ft. lgths.), Rigid type ONLY, Allied brand or equal | 5975-2362 | Lgth | 50 |  |  |  | 0
88 | Conduit, Rigid Steel, 1-1/4", galvanized, heavy-walled, (10 lin. ft. lgths.), Rigid type ONLY, Allied brand or equal | 5975-2363 | Lgth | 30 |  |  |  | 0
89 | Bushing, reducing, 3/4" to 1/2", for rigid conduit, steel, Gedney RB-321S, Sepco CR1 or equal | 5975-1083 | Each | 200 |  |  |  | 0
90 | Locknut, rigid conduit, 1/2", heavy nut stock steel, Gedney 150S, Sepco 706 or equal | 5975-0445 | Each | 1700 |  |  |  | 0
91 | Locknut, rigid conduit, 3/4", heavy nut stock steel Gedney 1-75-S, Bridgeport 102 or equal | 5975-0446 | Each | 100 |  |  |  | 0
92 | Locknut, rigid conduit, 1", heavy nut stock steel, Gedney 1-100-S, Bridgeport 103 or equal | 5975-0447 | Each | 100 |  |  |  | 0
93 | Locknut, rigid conduit, 1-1/2", heavy nut stock steel, Gedney 1-150-S, Bridgeport 105 or equal | 5975-0449 | Each | 50 |  |  |  | 0
94 | Locknut, rigid conduit, 1-1/4", heavy nut stock steel, Gedney 1-125-S, Bridgeport 104 or equal | 5975-0448 | Each | 75 |  |  |  | 0
95 | Nipple, offset, rigid conduit, 1/2" malleable iron, NPS threaded, cadmium plated, Gedney ON-50or equal | 5975-0455 | Each | 25 |  |  |  | 0
96 | Straps, 1/2" Rigid Conduit, one-hole, snap type, double ribbed, steel, Gedney 14-50S, Bridgeport 901S or equal | 5975-0550 | Each | 50 |  |  |  | 0
97 | Straps, 3/4", Rigid Conduit, one-hole, snap type, double ribbed, steel, Gedney 14-75S, Bridgeport 902S or equal | 5975-0551 | Each | 50 |  |  |  | 0
98 | Conduit, 1/2", Flexible Metallic, Rust Proof, Galvanized Steel, 100 ft. roll Greenfield American Flex brand | 6145-0062 | Roll | 5 |  |  |  | 0
99 | Connector, Anti-short bushing, 3/8", for flex conduit, Thomas & Betts 3301 or equal | 5975-0202 | Each | 400 |  |  |  | 0
100 | Connector, flex conduit, 3/8", single screw, malleable iron, cadmium plated, Gedney “Grip-Tite” 27-38, or Bridgeport 501-DC2, ONLY | 5975-0373 | Each | 200 |  |  |  | 0
101 | Connector, flex conduit, 1/2", single screw, malleable iron, cadmium plated, Gedney "Grip-Tite” 27-50, Bridgeport 407, Sepco C27 or equal | 5975-0379 | Each | 250 |  |  |  | 0
102 | Connector, 3/8", flex conduit, 90o, two screw, zinc diecast, Gedney SL-110, Bridgeport 801DC or equal | 5975-0376 | Each | 150 |  |  |  | 0
103 | Connector, 1/2", flex conduit, 90o, two screw, zinc diecast, Gedney SL-110-1, Bridgeport 804DC or equal | 5975-0382 | Each | 100 |  |  |  | 0
104 | Connector, 1/2", flex conduit, 45o,angle squeeze type, malleable iron cadmium plated, Gedney AC-50, Bridgeport 803, Midwest 735 or equal | 5975-0381 | Each | 20 |  |  |  | 0
105 | Conduit, Flexible Liquid-tight, Type EF, 1/2" Galvanized steel with extruded poly vinyl chloride cover, 200 ft. roll, Carol Cable 1/2 Liquidtite LF brand or equal | 6145-0066 | Each | 25 |  |  |  | 0
106 | Conduit, Flexible Liquid-tight, TypeEF, 3/4” Galvanized Steel with extruded polyvinyl chloride cover, 175 ft. roll, Carol Cable 3/4 Liquidtite brand or equal (6145-0065) | 5975-0343 | Roll | 15 |  |  |  | 0
107 | Connector, Liquid-tight conduit, straight, 1/2”, Bridgeport 430LT, Madison or equal |  | Each | 125 |  |  |  | 0
108 | Connector, Liquid-tight conduit, 45o, 1/2", Bridgeport 450LT1, Leeco or equal | 5975-0342 | Each | 20 |  |  |  | 0
109 | Connector, Liquid-tight conduit, 90o, 1/2”, Bridgeport 470LT1, Madison or equal | 5975-0344 | Each | 75 |  |  |  | 0
110 | Connector, Liquid-tight conduit, straight, 3/4”, Bridgeport 431LT1, Madison or equal | 5975-0346 | Each | 75 |  |  |  | 0
111 | Connector, Liquid-tight conduit, 90o, 3/4”, Bridgeport 471LT1, Madison or equal | 5975-0347 | Each | 50 |  |  |  | 0
112 | Condulet, 17-1/2", Crouse-Hinds LB ONLY | 5975-1269 | Each | 50 |  |  |  | 0
113 | Condulet, 27-3/4", Crouse-Hinds LB ONLY | 5975-1270 | Each | 50 |  |  |  | 0
114 | Cover, Condulet, 1/2", Crouse-Hinds 170 ONLY | 5975-1298 | Each | 25 |  |  |  | 0
115 | Cover, Condulet, 3/4", Crouse-Hinds 270 ONLY | 5975-1299 | Each | 50 |  |  |  | 0
116 | Cover, Condulet, 1", Crouse-Hinds 370 ONLY | 5975-1300 | Each | 70 |  |  |  | 0
117 | Gasket, Condulet, 1/2", Crouse-Hinds 571 ONLY | 5975-1313 | Each | 20 |  |  |  | 0
118 | Gasket, Condulet, 3/4", Crouse-Hinds, 572 ONLY | 5975-1314 | Each | 15 |  |  |  | 0
119 | Connector, Romex, 3/8", Efcor 1112, Bridgeport 105 or equal | 5975-0378 | Each | 600 |  |  |  | 0
120 | Channel, 14 gauge, (for hanging conduit), with 17/32" holes on 1-1/2" centers, (10 lin. ft. lgths.), Kindorf B907 ONLY | 5975-2354 | Lgth | 150 |  |  |  | 0
121 | Beam Clamp, Bridgeport 951or equal | 5975-0516 | Each | 650 |  |  |  | 0
122 | Nut, Channel, 1/4" thread, Kindorf B910 ONLY | 5975-1121 | Each | 1100 |  |  |  | 0
123 | Strap, 1/2", rigid Conduit, Kindorf C105-1/2 ONLY | 5975-1116 | Each | 10 |  |  |  | 0
124 | Strap, 3/4", rigid Conduit, Kindorf C105-3/4 ONLY | 5975-1114 | Each | 30 |  |  |  | 0
125 | Strap, 3/4" EMT Conduit, Kindorf C106-3/4 ONLY | 5975-1113 | Each | 250 |  |  |  | 0
126 | Washer, fender, 1-1/4" O.D., 1/4" I.D. | 5975-0576 | Each | 5500 |  |  |  | 0
127 | Washer, fender, 1-1/2" O.D., 3/8" I.D., BBC38FEN or equal, 100/pkg | 5975-0577 | Pkg | 50 |  |  |  | 0
128 | Washer, reducing, 1" x 1/2", Thomas & Betts 3703, Mulberry 40006 or equal | 5975-1094 | Each | 125 |  |  |  | 0
129 | Nipple, Chase, 1/2", Thomas & Betts 842 or equal | 5975-0529 | Each | 1200 |  |  |  | 0
130 | Hanger, Conduit, 1/2", Steel City 6HO-B-1/2, Sepco 10CS or equal | 5975-0523 | Each | 500 |  |  |  | 0
131 | Hanger, Conduit, 3/4", Steel City 6HO-B-3/4, Speco 11CS or equal | 5975-0524 | Each | 700 |  |  |  | 0
132 | Hanger, Conduit, 1", Steel City 6HO-B-1, Sepco 12CS or equal | 5975-0525 | Each | 50 |  |  |  | 0
133 | Hanger, Conduit, 1-1/4", Steel City 6HO-B-1/4, Sepco 13CS or equal | 5975-0526 | Each | 100 |  |  |  | 0
134 | 1-1/4” PVC Conduit Schedule 40, 10’ lgths | 5975-2356 | Lgth | 300 |  |  |  | 0
135 | 1-1/4” PVC Factory, 90 PVC | 5975-0506 | Each | 100 |  |  |  | 0
136 | 1-1/4” Male Adapter PVC, Carlon E943G or equal | 5975-0339 | Each | 75 |  |  |  | 0
137 | 1/4” Coupling PVC Carlon brand or equal | 5975-0359 | Each | 250 |  |  |  | 0
138 | 1-1/4” Factory 45 PVC | 5975-0505 | Each | 35 |  |  |  | 0
139 | Kindorf Joiner G-978-A | 5975-2300 | Each | 100 |  |  |  | 0
140 | Corner Brace Kindorf B921 | 5975-1117 | Each | 100 |  |  |  | 0
141 | Bug S 2/0 | 5935-0564 | Each | 50 |  |  |  | 0
142 | Bug S-10-S | 5935-0570 | Each | 50 |  |  |  | 0
143 | Bug S-2-S | 5935-0563 | Each | 50 |  |  |  | 0
144 | Bug S-4-S | 5935-0567 | Each | 50 |  |  |  | 0
145 | Bug S-6-S | 5395-0568 | Each | 50 |  |  |  | 0
146 | Bushing 1” Steel Conduit | 5975-0393 | Each | 100 |  |  |  | 0
147 | Bushing 1-1/4” Insulated Steel | 5975-0394 | Each | 100 |  |  |  | 0
148 | Bushing 1” Ground | 5975-0414 | Each | 100 |  |  |  | 0
149 | Bushing 3/4” Steel | 5975-0392 | Each | 100 |  |  |  | 0
150 | Bushing, Cap 1-1/4 | 5975-0403 | Each | 100 |  |  |  | 0
151 | Bushing, Cap 1” | 5975-0402 | Each | 100 |  |  |  | 0
152 | Bushing, Cap 1/2” | 5975-0400 | Each | 100 |  |  |  | 0
153 | Bushing, Cap 3/4" | 5975-0401 | Each | 100 |  |  |  | 0
154 | Bushing, Conduit 1/2" Steel | 5975-0391 | Each | 100 |  |  |  | 0
155 | Bushing, 1-1/2” w/Lug | 5975-0416 | Each | 100 |  |  |  | 0
156 | Bushing, Ground 1/2” w/Lug | 5975-0406 | Each | 100 |  |  |  | 0
157 | Bushing, Ground 3/4” Insulated w/Lug | 5975-0410 | Each | 100 |  |  |  | 0
158 | Reducing Bushing 1-1/2 x 1-1/4” | 5975-1105 | Each | 100 |  |  |  | 0
159 | Reducing Bushing 1 x 1/2 | 5975-1082 | Each | 100 |  |  |  | 0
160 | Reducing Bushing 1 x 3/4 | 5975-1081 | Each | 100 |  |  |  | 0
161 | Photo Cell Tork 2004 | 6240-1158 | Each | 50 |  |  |  | 0
162 | Beam Clamp, Caddy #4j-24-38-s | 5975-0513 | Each | 100 |  |  |  | 0
163 | Beam Clamp, Caddy #16-M-2-4 | 5975-0515 | Each | 100 |  |  |  | 0
164 | Beam Clamp, Caddy #8-12M-2-4 | 5975-0514 | Each | 100 |  |  |  | 0
165 | Cable Clamp, 1/4" Lawson #17025 | 5340-0683 | Each | 10 |  |  |  | 0
166 | Clamp, Ground Rod 5/8” | 5975-0573 | Each | 100 |  |  |  | 0
167 | Condulet LB 37 1” | 5975-1711 | Each | 50 |  |  |  | 0
168 | Condulet LB 47 1-1/4” | 5975-1272 | Each | 50 |  |  |  | 0
169 | Condulet LB 57 1-1/2” | 5975-1273 | Each | 50 |  |  |  | 0
170 | Condulet LB 67 2” | 5975-1274 | Each | 50 |  |  |  | 0
171 | Condulet LL 17 1/2” | 5975-1261 | Each | 50 |  |  |  | 0
172 | Condulet LL 27 3/4" | 5975-1262 | Each | 50 |  |  |  | 0
173 | Condulet LR 17 1/2" | 5975-1253 | Each | 50 |  |  |  | 0
174 | Connector, Two Screw 1/2" T&B #3302 | 5975-0380 | Each | 100 |  |  |  | 0
175 | Connector, Two Screw 3/4" T&B #3303 | 5975-0383 | Each | 100 |  |  |  | 0
176 | Connector, Two Screw 3/8" T&B #3301 | 5975-0374 | Each | 100 |  |  |  | 0
177 | Connector, Duplex 3/8” 601-DC2 | 5975-0377 | Each | 50 |  |  |  | 0
178 | Connector, EMT Compression 1/1/2” | 5975-0370 | Each | 100 |  |  |  | 0
179 | Connector, EMT Compression 1-1/4” | 5975-0369 | Each | 100 |  |  |  | 0
180 | Connector, Flex 45 deg. 3/4" | 5975-0385 | Each | 50 |  |  |  | 0
181 | Connector, One Screw 3/4" | 5975-0384 | Each | 100 |  |  |  | 0
182 | Connector, Squeeze 90 deg. 3/4" | 5975-0386 | Each | 50 |  |  |  | 0
183 | Connector, Liquidtight 45 deg. 3/4" | 5975-0345 | Each | 50 |  |  |  | 0
184 | Coupling, HW 1-1/4” | 5975-0489 | Each | 100 |  |  |  | 0
185 | Coupling, HW 1/2” | 5975-0468 | Each | 100 |  |  |  | 0
186 | Coupling, HW 3/4" | 5975-0477 | Each | 100 |  |  |  | 0
187 | Coupling, Rod 1/2" | 5975-1072 | Each | 100 |  |  |  | 0
188 | Coupling, Rod 1/4" | 5975-1077 | Each | 100 |  |  |  | 0
189 | Coupling, Rod 1/4 x 3/8" | 5975-1076 | Each | 100 |  |  |  | 0
190 | Coupling, Rod 3/8" | 5975-1074 | Each | 100 |  |  |  | 0
191 | Coupling, Threadless HW 1-1/4” | 5975-0357 | Each | 50 |  |  |  | 0
192 | Cover, Condulet 3/4" 2 Screw | 5975-1307 | Each | 25 |  |  |  | 0
193 | Cover, Condulet 470 1-1/4” | 5975-1301 | Each | 50 |  |  |  | 0
194 | Cover, Condulet 570 1-1/2” | 5975-1302 | Each | 50 |  |  |  | 0
195 | Cover, Condulet 670 2” | 5975-1303 | Each | 50 |  |  |  | 0
196 | Cover, Condulet Blank 1 gang | 5975-1324 | Each | 10 |  |  |  | 0
197 | Ell, Pulling 90 deg. Female/Female 1/2" | 5975-0508 | Each | 100 |  |  |  | 0
198 | Ell, Pulling 90 deg. Female/Female 3/4” | 5975-0509 | Each | 100 |  |  |  | 0
199 | Ell, Telephone 1/2" | 5975-0432 | Each | 100 |  |  |  | 0
200 | Ell, Telephone 3/4" | 5975-0433 | Each | 100 |  |  |  | 0
201 | Gasket, Condulet 1-1/4” | 5975-1316 | Each | 25 |  |  |  | 0
202 | Gasket, Condulet 1-1/2” | 5975-1317 | Each | 25 |  |  |  | 0
203 | Gasket, Condulet CH #573 1” | 5975-1315 | Each | 25 |  |  |  | 0
204 | Pipe Hanger, 2” C149 | 5975-1098 | Each | 25 |  |  |  | 0
205 | Pipe Hanger, 3/4" C149 | 5975-1102 | Each | 25 |  |  |  | 0
206 | Locknut, Steel 2-1/2” | 5975-0451 | Each | 100 |  |  |  | 0
207 | Locknut, Steel 2” | 5975-0450 | Each | 100 |  |  |  | 0
208 | Nipple, Chase 1” | 5975-0531 | Each | 100 |  |  |  | 0
209 | Nipple, Chase 3/4" | 5975-0530 | Each | 100 |  |  |  | 0
210 | Nipple, Conduit 1/2 x 2-1/2" | 5975-0462 | Each | 100 |  |  |  | 0
211 | Nipple, Conduit 1/2 x 2" | 5975-0461 | Each | 100 |  |  |  | 0
212 | Nipple, Conduit 1/2 x 4" | 5975-0465 | Each | 100 |  |  |  | 0
213 | Nipple, Conduit 1/2 x close | 5975-0459 | Each | 100 |  |  |  | 0
214 | Nipple, Conduit 1 x close | 5975-0478 | Each | 100 |  |  |  | 0
215 | Nipple, Conduit 3/4 x close | 5975-0469 | Each | 100 |  |  |  | 0
216 | Nipple, Conduit 3/4 x 2" | 5975-0470 | Each | 100 |  |  |  | 0
217 | Nipple, Conduit 3/4 x 4" | 5975-0474 | Each | 100 |  |  |  | 0
218 | Nipple, Conduit 3/4 x 6" | 5975-0476 | Each | 100 |  |  |  | 0
219 | Nipple, Offset 1” | 5975-0457 | Each | 100 |  |  |  | 0
220 | Nipple, Offset 3/4" | 5975-0456 | Each | 100 |  |  |  | 0
221 | Nut, Kindorf 3/8” B910 | 5975-1119 | Each | 100 |  |  |  | 0
222 | Nut, Unistrat 1/4" | 5975-1212 | Each | 100 |  |  |  | 0
223 | Nut, Unistrat 3/8” | 5975-1210 | Each | 100 |  |  |  | 0
224 | Rod, Ground Galv 5/8” x 8’ | 5975-2358 | Each | 100 |  |  |  | 0
225 | Strap, Heavywall 1-1/4” | 5975-0553 | Each | 100 |  |  |  | 0
226 | Strap, Kindorf C105 1-1/2” | 5975-1108 | Each | 100 |  |  |  | 0
227 | Strap, Kindorf C105 1-1/4” | 5975-1110 | Each | 100 |  |  |  | 0
228 | Strap, Kindorf C105 1” | 5975-1112 | Each | 100 |  |  |  | 0
229 | Strap, Kindorf C106 1-1/2” | 5975-1107 | Each | 100 |  |  |  | 0
230 | Strap, Kindorf C106 1-1/4” | 5975-1109 | Each | 100 |  |  |  | 0
231 | Strap, Kindorf C106 1” | 5975-1111 | Each | 100 |  |  |  | 0
232 | Strap, Kindorf C106 1/2" | 5975-1115 | Each | 100 |  |  |  | 0
233 | Strap, Thin Wall 1-1/2” | 5975-0548 | Each | 100 |  |  |  | 0
234 | Strap, Thin Wall 1-1/4” | 5975-0547 | Each | 100 |  |  |  | 0
235 | Strap, Thin Wall 3/8” | 5975-0549 | Each | 100 |  |  |  | 0
236 | Strap, Armored Cable 12/2 #125 | 5975-0543 | Each | 100 |  |  |  | 0
237 | Washer, Reducing 1-1/2 x 1/2 | 5975-1089 | Each | 100 |  |  |  | 0
238 | Washer, Reducing 1-1/4 x 3/4 | 5975-1092 | Each | 100 |  |  |  | 0
239 | Washer, Reducing 1 x 3/4 | 5975-1093 | Each | 100 |  |  |  | 0
240 | Washer, Reducing 2 x 1/2" | 5975-1087 | Each | 100 |  |  |  | 0
241 | Washer, Reducing 3/4 x 1/2" | 5975-1095 | Each | 100 |  |  |  | 0
GROUP 5 - ELECTRICAL BOXES, COVERS, AND RELATED ACCESSORIES
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
242 | Box, 8-B, 1/2" K.O., Steel City 54151-1/2, Raco 125 or equal | 5975-0925 | Each | 25 |  |  |  | 0
243 | Box, 1900, 1-1/2" deep, 1/2" K.O., Steel City, Raco 190 or equal | 5975-0940 | Each | 250 |  |  |  | 0
244 | Box, 1900, 1/2" x 3/4" K.O., Steel City 52151-1/2 x 3/4, Raco 192 or equal | 5975-0942 | Each | 250 |  |  |  | 0
245 | Box, Switch, 3" H x 2" W x 2-3/4" D, gangable, withears & non-metallic cable clamps, Raco 567 | 5975-0918 | Each | 10 |  |  |  | 0
246 | Box, Switch, 3" H x 2" W x 3-1/2" D, gangable, with BX Armored Cable Clamps, Raco 604 | 5975-5101 | Each | 10 |  |  |  | 0
247 | Box, Switch, Old Work Box, 3-1/2" deep, gangable, with MC clamps | 5975-0923 | Each | 60 |  |  |  | 0
248 | Box, Outlet, easy access ground, Mulberry 30584 or equal | 5975-0955 | Each | 25 |  |  |  | 0
249 | Box, 4" square, 1-1/2" deep, 1/2" K.O. Ext. Ring, Steel City 53151-1/2, Raco 201, Appleton 4SEY2 | 5975-0945 | Each | 30 |  |  |  | 0
250 | Box, 1900, 1/2" x 3/4" K.O., extension, Steel City 53151-1/2" x 3/4, Raco 203 or equal | 5975-0946 | Each | 60 |  |  |  | 0
251 | Box, 1900, 1/2" x 3/4", 2-1/8" deep, Steel City 52171-1/2 x 3/4", Raco 232 or equal | 5975-0944 | Each | 600 |  |  |  | 0
252 | Box, 11-B, 1" K.O., Steel City 72171-1, Raco 258 or equal | 5975-0937 | Each | 20 |  |  |  | 0
253 | Box, Handy, 1/2" K.O., Steel City 58361-1/2, Raco 660 or equal | 5975-0958 | Each | 20 |  |  |  | 0
254 | Box, Handy, 3/4" K.O., Steel City 58361-3/4, Appleton 4CS3/4, Raco 663or equal | 5975-0959 | Each | 5 |  |  |  | 0
255 | Box, Handy, 1/2" K.O., 2-1/8" deep, Steel City 58371-1/2, Raco 670 or equal | 5975-0960 | Each | 125 |  |  |  | 0
256 | Box, Handy, 1/2" K.O., extension, Steel City 59361-1/2, Appleton 4SSLE1/2, Raco 653or equal | 5975-0961 | Each | 15 |  |  |  | 0
257 | Box, 6" x 6" x 4" Weather-proof junction, Nema 3R Enclosure, Galvanized, Rainproof, with screw cover, Hoffman A6R64 or equal | 5975-0717 | Each | 60 |  |  |  | 0
258 | Cover, duplex, one gang, weatherproof for FS Box, Crouse-Hinds, Mulberry 30278 or equal | 5975-1322 | Each | 40 |  |  |  | 0
259 | Cover, 58-C-1 Handy Box, Mulberry 10001 or equal | 5975-0963 | Each | 35 |  |  |  | 0
260 | Cover, 58-C-7 Handy Box, Mulberry 10002 or equal | 5975-0966 | Each | 80 |  |  |  | 0
261 | Cover, Handy Box, Steel City 58-C-30 or equal | 5975-0967 | Each | 70 |  |  |  | 0
262 | Cover, RS-8 1900 Box, Mulberry 11411 or equal | 5975-0970 | Each | 150 |  |  |  | 0
263 | Cover, RS-9 1900 Box, Mulberry 11401 or equal | 5975-0971 | Each | 150 |  |  |  | 0
264 | Cover, RS-11 1900 Box, Mulberry 11403 or equal | 5975-0972 | Each | 70 |  |  |  | 0
265 | Cover, RS-12 1900 Box, Mulberry 11402 or equal | 5795-0973 | Each | 250 |  |  |  | 0
266 | Cover, 1 Gang Toggle, Satin (ITSS), Mulberry 97071 or equal | 5975-1008 | Each | 100 |  |  |  | 0
267 | Cover, 1 Gang Duplex Recpt., Satin (10DRSS), Mulberry 97101 or equal | 5975-1016 | Each | 500 |  |  |  | 0
268 | Cover, 1 Gang Recpt. Satin (10RSS), Mulberry 97091 or equal | 5975-1015 | Each | 10 |  |  |  | 0
269 | Cover, Phone Plate, Satin (01SS), Mulberry 97201 or equal | 5975-1014 | Each | 20 |  |  |  | 0
270 | Cover, 1 Gang Blank, Satin (1BSS), Mulberry 97151 or equal | 5975-1019 | Each | 300 |  |  |  | 0
271 | Cover, 2 Gang Blank, Satin (2BSS), Mulberry 97152 or equal | 5975-1020 | Each | 30 |  |  |  | 0
272 | Cover, 2 Gang Duplex Recpt., Satin (20DRSS), Mulberry 97102 or equal | 5975-1017 | Each | 30 |  |  |  | 0
273 | Blank, 1/2" snap-in, Mulberry 40111 or equal | 5975-1071 | Each | 300 |  |  |  | 0
274 | Blank, 3/4" snap-in, Mulberry 40112 or equal | 5975-1070 | Each | 150 |  |  |  | 0
275 | Blank, 1" snap-in, Mulberry 40113 or equal | 5975-1069 | Each | 30 |  |  |  | 0
276 | Cover, blank, 4" octagon, flat, Mulberry 11101 or equal | 5975-1025 | Each | 200 |  |  |  | 0
277 | Cover, blank 4" square, flat, Mulberry 11201, Steel City 52-C-1 or equal | 5975-1029 | Each | 450 |  |  |  | 0
278 | Cover, blank, 4" square, flat with 1/2" K.O., Steel City 52-C-6, Mulberry 11203 or equal | 5975-1030 | Each | 75 |  |  |  | 0
279 | Screw, ground, 10/32, Raco 973 or equal, (100 per box) | 4510-0099 | Box | 50 |  |  |  | 0
280 | Box, 11-B 2-1/8 Deep 1/2 x 3/4 KO | 5975-0938 | Each | 50 |  |  |  | 0
281 | Box, 11-B 2-1/8 Deep 3/4 KO | 5975-0936 | Each | 50 |  |  |  | 0
282 | Box, 1900 w/Bracket 1-1/2 Deep 3/4 KO | 5975-0941 | Each | 50 |  |  |  | 0
283 | Box, 1900 w/Bracket 1/2 KO | 5975-0952 | Each | 50 |  |  |  | 0
284 | Box, 1900 w/Bracket 1/2 x 3/4 KO | 5975-0953 | Each | 50 |  |  |  | 0
285 | Box, 8-B 1-1/2 Deep 1/2 x 3/4 KO | 5975-0927 | Each | 50 |  |  |  | 0
286 | Box, Condulet FS 1/2 Hub | 5975-1330 | Each | 50 |  |  |  | 0
287 | Box, Condulet FSC 1-1/2 Hub | 5975-1279 | Each | 50 |  |  |  | 0
288 | Box, Extension 8-B 1/2 KO | 5975-0928 | Each | 50 |  |  |  | 0
289 | Box, Extension Mulberry #30229 | 5975-1280 | Each | 50 |  |  |  | 0
290 | Box, New Work 2-1/2 Deep 1/2 KO | 5975-0954 | Each | 50 |  |  |  | 0
291 | Box, New Work 1-1/2 Deep w/Clamps | 5975-0957 | Each | 50 |  |  |  | 0
292 | Box, New Work 2-3/4 Deep 1/2 KO | 5975-0956 | Each | 50 |  |  |  | 0
293 | Box, New Work Gem, Side MT LXWV | 5975-0920 | Each | 50 |  |  |  | 0
294 | Box, Octagon 4” w/Hanger Raco 324 | 5975-0917 | Each | 50 |  |  |  | 0
295 | Box, Old Work 2-1/2 Deep 1/2 KO | 5975-0922 | Each | 50 |  |  |  | 0
296 | Pull Box 10 x 10 x 4 | 5975-0714 | Each | 50 |  |  |  | 0
297 | Pull Box 12 x 12 x 4 W/P | 5975-0712 | Each | 50 |  |  |  | 0
298 | Pull Box 6 x 6 x 4 KO | 5975-0716 | Each | 50 |  |  |  | 0
299 | Box W/P Mulberry #30204 | 6210-1219 | Each | 50 |  |  |  | 0
300 | Box, W/P Mulberry #30203 | 6210-1220 | Each | 50 |  |  |  | 0
301 | Cover, 11-B 1/2” KO | 5975-1031 | Each | 50 |  |  |  | 0
302 | Cover, 1 gang SS Mulberry 97221 | 5975-0975 | Each | 50 |  |  |  | 0
303 | Cover, 2 gang 50A Mulberry 97223 | 5975-0997 | Each | 50 |  |  |  | 0
304 | Cover, 8-B 1/2" KO | 5975-1026 | Each | 50 |  |  |  | 0
305 | Cover, Blank 1 gang WP | 5975-1036 | Each | 50 |  |  |  | 0
306 | Cover, 11-B Blank | 5975-1035 | Each | 50 |  |  |  | 0
307 | Cover, Device 1900 Mulberry #112211 | 5975-1278 | Each | 20 |  |  |  | 0
308 | Cover, Duplex Toggle RS-2 | 5975-0968 | Each | 20 |  |  |  | 0
309 | Cover, Range #813 4Wire 50A | 5975-0145 | Each | 20 |  |  |  | 0
310 | Cover, Single Receptacle 50A | 5975-0994 | Each | 20 |  |  |  | 0
311 | Cover, Single Receptacle Twist RS-13 | 5975-0995 | Each | 20 |  |  |  | 0
312 | Cover, Single Receptacle Utility 68C5 | 5975-0964 | Each | 20 |  |  |  | 0
313 | Cover, Single Receptacle RS-13 | 5975-0974 | Each | 50 |  |  |  | 0
314 | Cover, Single Receptacle 20A 4W | 5975-0976 | Each | 20 |  |  |  | 0
315 | Cover, Toggle 2 gang 1900 RS-5 | 5975-0969 | Each | 20 |  |  |  | 0
316 | Cover, Toggle 2 gang Satin | 5975-1009 | Each | 50 |  |  |  | 0
317 | Cover, Toggle Duplex Satin | 5975-0977 | Each | 50 |  |  |  | 0
318 | Cover, Toggle Satin 3 gang | 5975-1010 | Each | 20 |  |  |  | 0
319 | Cover, Toggle Single Weatherproof | 5975-1323 | Each | 50 |  |  |  | 0
320 | Cover, Blank Satin 4 gang | 5975-1022 | Each | 20 |  |  |  | 0
321 | Flame, Seal #446 2 lb. box | 5975-1431 | Each | 20 |  |  |  | 0
322 | Ring, Plaster 1900 1 gang 3/4” | 5975-1032 | Each | 100 |  |  |  | 0
323 | Ring, Plaster Single Raco #787 | 5975-1033 | Each | 100 |  |  |  | 0
GROUP 6 - WIRING DEVICES
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
324 | Plug, Cap., short flat vinyl with finger grip Screw terminals, 15A-125V, Leviton 48643 or equal | 5975-0164 | Each | 50 |  |  |  | 0
325 | Connector, nylon, 3-wire, two pole, 15A-125V, Bryant, Leviton 5269N, Arrowhart 5269N or equal | 5975-0165 | Each | 300 |  |  |  | 0
326 | Plug, nylon, 3-wire, two pole, 15A-125V, Bryant, Leviton 5266N or equal | 5975-0166 | Each | 800 |  |  |  | 0
327 | Switch, momentary contact, 20 AMP, 120-277 VACS, S.P.D.T. lock type, with side and back (Non-spring loaded type) wiring feature, Bryant 4921-L, Arrowhart 1995L, Hubbell HBL1557L Or equal | 5975-0124 | Each | 50 |  |  |  | 0
328 | Switch, grounding framed toggle, Single pole, brown, for back and side Wiring, 15 AMP, 120 VAC, Leviton 1451-2 ONLY | 5975-0108 | Each | 200 |  |  |  | 0
329 | Switch, grounding framed toggle, 3-way, brown, for back and side wiring, 15 AMP, 120 VAC, Leviton 1453-2 ONLY | 5975-0109 | Each | 100 |  |  |  | 0
330 | Switch, tumble, 20 AMP, 120-277 VAC, 3-way, brown, with side and back (non-spring loaded type) wiring feature, Cooper wiring devices AH1193N ONLY (locking) | 5975-0120 | Each | 150 |  |  |  | 0
331 | Switch, tumble, 20 AMP, 120-277 VAC, 3-way, brown, with side and back (non-spring loaded type) wiring feature, Hubbell CS1223, Bryant 4903 or equal | 5975-0119 | Each | 150 |  |  |  | 0
332 | Switch, tumble, 20 AMP, 120-277 VAC, double pole, brown, with side and back (non-spring loaded type) wiring feature, Bryant, 4902, Hubbell CS1222 or equal | 5975-0117 | Each | 10 |  |  |  | 0
333 | Switch, tumble, 20 AMP, 120-277 VAC, single pole, brown, with side and back (non-spring loaded type) wiring feature, Hubbell CS1221, Bryant 4901 or equal | 5975-0115 | Each | 500 |  |  |  | 0
334 | Receptacle, twist-lock, with NEMA L14-20R configuration, black, malamine construction, 4-wire grounded, 20 AMP, 125/250 volt AC, Hubbell 2410, Arrowhart 6400 or equal | 5975-0173 | Each | 25 |  |  |  | 0
335 | Plug, Nylon, with insulated grip, with NEMA L14-20R configuration, 4-wire ground, 20 AMP, 125-250 volt AC, Hubbell 2411, Arrowhart 6402 or equal | 5975-0176 | Each | 10 |  |  |  | 0
336 | Receptacle, duplex, self-grounding, heavy duty, for back and side wiring, 20 AMP, 125 Volt AC, Bryant 5362, Hubbell CR5362, or Leviton 5362 ONLY | 5975-2564 | Each | 1500 |  |  |  | 0
337 | Receptacle, duplex, 2-pole, 3-wire grounded, for back and side wiring, brown, 15 AMP, 125 volt AC, Leviton ( 5320-CP ONLY | 5975-0919 | Each | 250 |  |  |  | 0
338 | Receptacle, single, grounding, brown, side and back wired, 20A-250 Volt AC, Hubbell 5461 ONLY | 5975-0104 | Each | 50 |  |  |  | 0
339 | Key, light switch, Arrow Hart 2000 ONLY | 5975-0201 | Each | 15 |  |  |  | 0
340 | Switch, single pole, 20 AMP, 120-277 VAC, lock type, Cooper wiring devices AH1191N ONLY | 5975-0116 | Each | 100 |  |  |  | 0
341 | Wall Plate, Stainless Steel, with "on-off" indication, Arrow Hart 1187 ONLY | 5975-0978 | Each | 15 |  |  |  | 0
342 | Wall Plate, Stainless Steel, non-indicating, Arrow Hart 1188 ONLY | 5975-0929 | Each | 10 |  |  |  | 0
343 | Key, Arrow Hart AH 14 ONLY | 5975-1545 | Each | 15 |  |  |  | 0
344 | Selector Switch for Square D Line starter, Size 00 to 3, Hand/Off/Auto, No. 9999SC2 | 5975-0130 | Each | 5 |  |  |  | 0
345 | Cord Cap, Hubbell #5366C Male | 5975-0114 | Each | 25 |  |  |  | 0
346 | Cord Cap, Bryant #7593 15A 125V | 5975-0182 | Each | 20 |  |  |  | 0
347 | Cord Cap, Hubbell #2311 20A 125V | 5975-0195 | Each | 50 |  |  |  | 0
348 | Cord Cap, Twist, Female 20A 125V 3W | 5975-0194 | Each | 50 |  |  |  | 0
349 | Cord Cap, Hubbell #5280C 15A 125V Male | 5975-0177 | Each | 20 |  |  |  | 0
350 | Cord Cap, Eagle #183 2W 15A 125V | 5975-0161 | Each | 20 |  |  |  | 0
351 | Cord Cap, Bryant #9755 N Female | 5975-0172 | Each | 50 |  |  |  | 0
352 | Cord Cap, Hubbell #2413 4W | 5975-0175 | Each | 50 |  |  |  | 0
353 | Cord Cap, Hubbell #5369C Female | 5975-0113 | Each | 50 |  |  |  | 0
354 | Cord Cap, Male, 20A 250V 3 Wire | 5975-0174 | Each | 50 |  |  |  | 0
355 | Cord, Dryer, 30A 125/250V 3P 4W 4F | 6150-0026 | Each | 10 |  |  |  | 0
356 | Cord, Range, 50A 125/250V 3P 4W 4F | 6150-0236 | Each | 10 |  |  |  | 0
357 | Receptacle, Dryer Flush 30 AMP 4 Wire | 5975-0149 | Each | 25 |  |  |  | 0
358 | Receptacle, Flush 50A 125/250V 3P 4W | 5975-0139 | Each | 25 |  |  |  | 0
359 | Receptacle, Surface 30A 125/250V 3P 4W | 5975-0148 | Each | 25 |  |  |  | 0
360 | Receptacle, Surface 50A 125/250V 3P 4W | 5975-0147 | Each | 25 |  |  |  | 0
361 | Receptacle, 30A 250V Hubbell #9330 | 5975-0150 | Each | 50 |  |  |  | 0
362 | Receptacle, Duplex 15A 250V 5662 | 5975-0103 | Each | 25 |  |  |  | 0
363 | Receptacle, Ground Fault 20A 125V | 5975-0112 | Each | 50 |  |  |  | 0
364 | Receptacle, SGL 15A 125V 5261 | 5975-0101 | Each | 25 |  |  |  | 0
365 | Receptacle, SGL 20A 125V 5361 | 5975-2565 | Each | 50 |  |  |  | 0
366 | Surge Suppressor Rec. #5380-1 | 5975-0110 | Each | 20 |  |  |  | 0
367 | Switch, Double Pole Lock 1992L | 5975-0118 | Each | 50 |  |  |  | 0
368 | Switch, Lev S4504 110V 15A 4 Way | 5975-0107 | Each | 50 |  |  |  | 0
369 | Switch, Momentary 3 Way 4921 | 5975-0123 | Each | 50 |  |  |  | 0
370 | Switch, Pressure 120-150 Form X | 5930-0503 | Each | 10 |  |  |  | 0
371 | Switch, Pushbutton Edwards #852 | 5930-0603 | Each | 10 |  |  |  | 0
372 | Switch, Tumbler 4 Way 1994/4904 | 5975-0121 | Each | 50 |  |  |  | 0
373 | Switch, Arrowhart #1193N | 5975-0122 | Each | 50 |  |  |  | 0
GROUP 7 - SWITCHES, BREAKERS, LOAD CENTERS AND CONTROLS. (NO SUBSTITUTIONS WILL BE ALLOWED ON SQUARE D ITEMS)
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
374 | HEATER SQ D A.59 | 6250-0502 | Each | 10 |  |  |  | 0
375 | HEATER SQ D A.65 | 6250-0503 | Each | 50 |  |  |  | 0
376 | HEATER SQ D A.71 | 6250-0504 | Each | 150 |  |  |  | 0
377 | HEATER SQ D A.78 | 6250-0505 | Each | 50 |  |  |  | 0
378 | HEATER SQ D A.86 | 6250-0506 | Each | 15 |  |  |  | 0
379 | HEATER SQ D A.95 | 6250-0507 | Each | 150 |  |  |  | 0
380 | HEATER SQ D A1.02 | 6250-0508 | Each | 250 |  |  |  | 0
381 | HEATER SQ D A1.25 | 6250-0509 | Each | 250 |  |  |  | 0
382 | HEATER SQ D A1.39 | 6250-0510 | Each | 45 |  |  |  | 0
383 | HEATER SQ D A1.54 | 6250-0511 | Each | 30 |  |  |  | 0
384 | HEATER SQ D A1.75 | 6250-0512 | Each | 30 |  |  |  | 0
385 | HEATER SQ D A1.99 | 6250-0514 | Each | 10 |  |  |  | 0
386 | HEATER SQ D A11.9 | 6250-0526 | Each | 10 |  |  |  | 0
387 | HEATER SQ D A14.8 | 6250-0527 | Each | 5 |  |  |  | 0
388 | HEATER SQ D A17.9 | 6250-0528 | Each | 15 |  |  |  | 0
389 | HEATER SQ D A19.8 | 6250-0529 | Each | 15 |  |  |  | 0
390 | HEATER SQ D A2.15 | 6250-0513 | Each | 5 |  |  |  | 0
391 | HEATER SQ D A2.31 | 6250-0671 | Each | 15 |  |  |  | 0
392 | HEATER SQ D A2.57 | 6250-0515 | Each | 20 |  |  |  | 0
393 | HEATER SQ D A21.3 | 6250-0530 | Each | 10 |  |  |  | 0
394 | HEATER SQ D A25.2 | 6250-0531 | Each | 5 |  |  |  | 0
395 | HEATER SQ D A3.61 | 6250-0676 | Each | 15 |  |  |  | 0
396 | HEATER SQ D A3.95 | 6250-0516 | Each | 3 |  |  |  | 0
397 | HEATER SQ D A4.32 | 6250-0675 | Each | 10 |  |  |  | 0
398 | HEATER SQ D A4.79 | 6250-0517 | Each | 10 |  |  |  | 0
399 | HEATER SQ D A5.30 | 6250-0518 | Each | 25 |  |  |  | 0
400 | HEATER SQ D A5.78 | 6250-0519 | Each | 25 |  |  |  | 0
401 | HEATER SQ D A6.20 | 6250-0520 | Each | 25 |  |  |  | 0
402 | HEATER SQ D A6.99 | 6250-0521 | Each | 25 |  |  |  | 0
403 | HEATER SQ D A7.65 | 6250-0522 | Each | 25 |  |  |  | 0
404 | HEATER SQ D A8.38 | 6250-0523 | Each | 25 |  |  |  | 0
405 | HEATER SQ D A9.25 | 6250-0524 | Each | 25 |  |  |  | 0
406 | HEATER SQ D A9.85 | 6250-0525 | Each | 25 |  |  |  | 0
407 | HEATER SQ D A19.8 | 6250-0529 | Each | 10 |  |  |  | 0
408 | HEATER SQ D A2.15 | 6250-0513 | Each | 25 |  |  |  | 0
409 | HEATER SQ D A2.31 | 6250-0671 | Each | 25 |  |  |  | 0
410 | HEATER SQ D A2.57 | 6250-0515 | Each | 25 |  |  |  | 0
411 | HEATER SQ D A21.3 | 6250-0530 | Each | 25 |  |  |  | 0
412 | HEATER SQ D A25.2 | 6250-0531 | Each | 25 |  |  |  | 0
413 | HEATER SQ D A3.61 | 6250-0676 | Each | 25 |  |  |  | 0
414 | HEATER SQ D A3.95 | 6250-0516 | Each | 25 |  |  |  | 0
415 | HEATER SQ D A4.32 | 6250-0675 | Each | 25 |  |  |  | 0
416 | HEATER SQ D A4.79 | 6250-0517 | Each | 25 |  |  |  | 0
417 | HEATER SQ D A5.30 | 6250-0518 | Each | 25 |  |  |  | 0
418 | HEATER SQ D A5.78 | 6250-0519 | Each | 25 |  |  |  | 0
419 | HEATER SQ D A6.20 | 6250-0520 | Each | 5 |  |  |  | 0
420 | HEATER SQ D A6.99 | 6250-0521 | Each | 5 |  |  |  | 0
421 | HEATER SQ D A7.65 | 6250-0522 | Each | 5 |  |  |  | 0
422 | HEATER SQ D A8.38 | 6250-0523 | Each | 5 |  |  |  | 0
423 | HEATER SQ D A9.25 | 6250-0524 | Each | 5 |  |  |  | 0
424 | HEATER SQ D A9.85 | 6250-0525 | Each | 10 |  |  |  | 0
425 | HEATER SQ D B1.30 | 6250-0541 | Each | 10 |  |  |  | 0
426 | HEATER SQ D B1.45 | 6250-0542 | Each | 10 |  |  |  | 0
427 | HEATER SQ D B1.67 | 6250-0543 | Each | 5 |  |  |  | 0
428 | HEATER SQ D B10.2 | 6250-0538 | Each | 5 |  |  |  | 0
429 | HEATER SQ D B11.5 | 6250-0539 | Each | 15 |  |  |  | 0
430 | HEATER SQ D B12.8 | 6250-0550 | Each | 10 |  |  |  | 0
431 | HEATER SQ D B14 | 6250-0532 | Each | 10 |  |  |  | 0
432 | HEATER SQ D B15.5 | 6250-0551 | Each | 10 |  |  |  | 0
433 | HEATER SQ D B19.5 | 6250-0552 | Each | 10 |  |  |  | 0
434 | HEATER SQ D B2.40 | 6250-0544 | Each | 100 |  |  |  | 0
435 | HEATER SQ D B22 | 6250-0533 | Each | 20 |  |  |  | 0
436 | HEATER SQ D B25 | 6250-0534 | Each | 20 |  |  |  | 0
437 | HEATER SQ D B25.0 | 6250-0553 | Each | 60 |  |  |  | 0
438 | HEATER SQ D B28.0 | 6250-0554 | Each | 10 |  |  |  | 0
439 | HEATER SQ D B3.00 | 6250-0545 | Each | 120 |  |  |  | 0
440 | HEATER SQ D B3.30 | 6250-0546 | Each | 10 |  |  |  | 0
441 | HEATER SQ D B32 | 6250-0535 | Each | 500 |  |  |  | 0
442 | HEATER SQ D B4.15 | 6250-0547 | Each | 100 |  |  |  | 0
443 | HEATER SQ D B4.85 | 6250-0548 | Each | 600 |  |  |  | 0
444 | HEATER SQ D B62 | 6250-0536 | Each | 600 |  |  |  | 0
455 | HEATER SQ D B7.70 | 6250-0677 | Each | 600 |  |  |  | 0
456 | HEATER SQ D B70 | 6250-0537 | Each | 800 |  |  |  | 0
457 | HEATER SQ D B9.10 | 6250-0549 | Each | 400 |  |  |  | 0
458 | HEATER SQ D BO.92 | 6250-0496 | Each | 50 |  |  |  | 0
459 | HEATER SQ D W4.62 | 6250-0567 | Each | 50 |  |  |  | 0
460 | Starter, Magnetic, Square D, Class 8536, Type SBG-2, 208 volt, AC, 60 Hz, 3 phase, NEMA Size 0 | 6250-0914 | Each | 15 |  |  |  | 0
461 | Starter, Fractional, Class 2510, Type FG-1P, Square D | 6250-0896 | Each | 20 |  |  |  | 0
462 | Starter, Fractional, Class 2510, Type FG-2P, Square D | 6250-0900 | Each | 10 |  |  |  | 0
463 | Switch, pressure, Square D, Class 9013, Type FHG-2, Form X, Close 80, Open 100 | 5930-0502 | Each | 5 |  |  |  | 0
464 | Switch, pressure, Square D, Class 9013, Type GHG-2, Form X, Close 60, Open 80 | 5930-0504 | Each | 15 |  |  |  | 0
465 | Switch, disconnect, 60 AMP, Two (2) blade, Square D D222N | 6210-1226 | Each | 3 |  |  |  | 0
466 | Switch, disconnect, 30 AMP, Three (3) blade, Square D D321N | 6210-1222 | Each | 10 |  |  |  | 0
467 | Breaker, Bryant 1 Pole 20 AMP BR | 5925-1443 | Each | 10 |  |  |  | 0
468 | Breaker, Bryant 2 Pole 20 AMP BR | 5925-1473 | Each | 25 |  |  |  | 0
469 | Breaker, FPE 1 Pole 20 AMP NB | 5925-1570 | Each | 25 |  |  |  | 0
470 | Breaker, FPE 2 Pole 30 AMP NB | 5925-1574 | Each | 25 |  |  |  | 0
471 | Breaker, GE 2 Pole 30 AMP THQB | 5925-1629 | Each | 25 |  |  |  | 0
472 | Breaker, GE 2 Pole 20 AMP THQB | 5925-1628 | Each | 25 |  |  |  | 0
473 | Breaker, SQ D 2 Pole 20 AMP AIB | 5925-1555 | Each | 25 |  |  |  | 0
474 | Breaker, Sq D 2 Pole 50 AMP QO | 5925-1535 | Each | 25 |  |  |  | 0
475 | Breaker, Sq D QO260 | 5925-1536 | Each | 25 |  |  |  | 0
476 | Breaker, Sq D QOB 260 | 5925-1537 | Each | 25 |  |  |  | 0
477 | Breaker, Westinghouse 2 Pole 30 AMP QC | 5925-1475 | Each | 25 |  |  |  | 0
478 | Coil, Sq D #31041-400-60 480V | 6250-0887 | Each | 25 |  |  |  | 0
479 | Coil, Sq D#31012-400-43 120V | 6250-0884 | Each | 25 |  |  |  | 0
480 | Coil, Sq D#31012-400-49 208 | 6250-0882 | Each | 25 |  |  |  | 0
481 | Coil, Sq D#31012-400-60 440V | 6250-0910 | Each | 25 |  |  |  | 0
482 | Coil, Sq D#31012-400-61 480V | 6250-0911 | Each | 25 |  |  |  | 0
483 | Coil, Sq D#31012-400-42 120V | 6250-1389 | Each | 25 |  |  |  | 0
484 | Coil, Sq D#31041-400-48 208V | 6250-0898 | Each | 25 |  |  |  | 0
485 | Coil, Sq D#31063-409-44 208V | 6250-0899 | Each | 25 |  |  |  | 0
486 | Coil, Sq D#9998-SAC-62 480V | 6250-0888 | Each | 25 |  |  |  | 0
487 | Coil, Allen Bradley 220V | 5950-0765 | Each | 5 |  |  |  | 0
488 | Contactor, Asco 9204 100A 3 Pole 120V | 6210-0774 | Each | 5 |  |  |  | 0
489 | Contactor, Asco 9205 150A 3 Pole 208V | 6210-0786 | Each | 5 |  |  |  | 0
490 | Contactor, EB430BA 40A 208V | 6250-1882 | Each | 5 |  |  |  | 0
491 | Contactor, EB440BA 40A 208V | 6250-1886 | Each | 5 |  |  |  | 0
492 | Disconnect, 30A 2F 240V TG3221 | 6210-1221 | Each | 10 |  |  |  | 0
493 | Disconnect, 60A 3F 240V D322NRB | 6210-1223 | Each | 10 |  |  |  | 0
494 | Disconnect, 60A 3P 240V Nema 1 | 6210-1227 | Each | 5 |  |  |  | 0
495 | Key, Bryant #6000 | 5975-0231 | Each | 5 |  |  |  | 0
496 | Kit, Stop Start Switch #9999 SA2 | 5975-1859 | Each | 15 |  |  |  | 0
497 | Load Center, QO 6 12 LJ Surface Mt | 6210-1232 | Each | 10 |  |  |  | 0
498 | Lock, Panel SQ D PK4-FL | 5240-0557 | Each | 10 |  |  |  | 0
499 | Starter, C8536 SBG1 3P 208V SZ0 | 6250-0891 | Each | 10 |  |  |  | 0
500 | Starter, C8536 TSBG-2 SO 3P 120V | 6250-0906 | Each | 10 |  |  |  | 0
501 | Fixture Kestone KT-CLED60PS-M1-8CSB-VDIM | 6250-0907 | Each | 100 |  |  |  | 0
502 | Fixture Keystone Bullhorn Adapter KSTN KT-BH-SF-D180 | 6250-0908 | Each | 20 |  |  |  | 0
503 | Fixture Keystone Bullhorn adapters KSTN KT-BH-SF-T180 | 6250-0909 | Each | 20 |  |  |  | 0
504 | Fixture Keystone LED Floodlight KT-FLED290PSHV-R4-OSF-UNV-8CSB-VDIM | 6250-0910 | Each | 60 |  |  |  | 0
505 | Fixture Keystone 1 x 4 wraparound fixture KSTN KT-WLED44PS-4-8CSA-VDIM | 6250-0911 | Each | 120 |  |  |  | 0
506 | Fixture RAB RAB X17XFU330SF/PCT FLOOD X17 FA 330-250-175W 3K-4K-5K W/SF PCT BZ | 6250-0912 | Each | 10 |  |  |  | 0
507 | Fixture 2 x 4 LED Flat Panel LEDVANCE (PANELRDORKIT1A/S050UNVD8SC7/24/WH) | 6250 -0913 | Each | 500 |  |  |  | 0
508 | Driver Advance C1032C065V048CDX1 | 6250-0914 | Each | 100 |  |  |  | 0
509 | Ballast Advance ADVICN2P32N35I | 6250-0915 | Each | 600 |  |  |  | 0
510 | Ballast Advance ADVICN3P32N35I | 6250-0916 | Each | 600 |  |  |  | 0
511 | Ballast Advance ADVICN4P32N35I | 6250-0917 | Each | 600 |  |  |  | 0
513 | Louver Wakefield PH214, 2 Tube Malcolite 140452 or equal | 6210-2399 | Each | 400 |  |  |  | 0
514 | Photo Cell, T-16 208V 1800VAC | 6240-1172 | Each | 50 |  |  |  | 0
515 | Photo Cell, T-15 120V 60CY 1800W | 6240-1160 | Each | 50 |  |  |  | 0
Group 8 - Fuses
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
516 | Fusetron, Series FRN, 5 amp., 250 volt, Bussman | 5920-0588 | Each | 10 |  |  |  | 0
517 | Fusetron, Series FRN, 10 amp., 250 volt, Bussman | 5920-0591 | Each | 40 |  |  |  | 0
518 | Fusetron, Series FRN, 15 amp., 250 volt, Bussman | 5920-0592 | Each | 50 |  |  |  | 0
519 | Fusetron, Series FRN, 20 amp., 250 volt, Bussman | 5920-0593 | Each | 40 |  |  |  | 0
520 | Fusetron, Series, FRN, 30 amp., 250 volt, Bussman | 5920-0596 | Each | 40 |  |  |  | 0
521 | Fusetron, Series FRN, 40 amp., 250 volt, Bussman | 5920-0598 | Each | 25 |  |  |  | 0
522 | Fusetron, Series, FRN, 50 amp., 250 volt, Bussman | 5920-0600 | Each | 10 |  |  |  | 0
523 | Fusetron, Series FRN, 60 amp., 250 volt, Bussman | 5920-0601 | Each | 10 |  |  |  | 0
524 | Fusetron, Series FRS, 15 amp., 600 volt, Bussman | 5920-0612 | Each | 40 |  |  |  | 0
525 | Fusetron, Series FRS, 20 amp., 600 volt, Bussman | 5920-0613 | Each | 50 |  |  |  | 0
526 | Fusetron, Series FRS, 30 amp., 600 volt, Bussman | 5920-0614 | Each | 30 |  |  |  | 0
527 | Fusetron, Series FNM, 15 amp., 250 volt, Bussman | 5920-0638 | Each | 10 |  |  |  | 0
528 | Fustat, Type S, 4 amp., Bussman | 5920-0642 | Each | 20 |  |  |  | 0
529 | Fustat, Type S, 5 amp., Bussman | 5920-0643 | Each | 20 |  |  |  | 0
530 | Fustat, Type S, 15 amp., Bussman | 5920-0644 | Each | 10 |  |  |  | 0
531 | Fustat, Type S, 20 amp., Bussman | 5920-0703 | Each | 20 |  |  |  | 0
532 | Fusetron, FNM 1 Amp 250V Midget | 5920-0625 | Each | 15 |  |  |  | 0
533 | Fusetron, FNM 1-1/4 Amp250V Midget | 5920-0627 | Each | 25 |  |  |  | 0
534 | Fusetron, FNM 2-8/10 Amp 250V Midget | 5920-0629 | Each | 25 |  |  |  | 0
535 | Fusetron, FNM 2 Amp 250V Midget | 5920-0628 | Each | 25 |  |  |  | 0
536 | Fusetron, FNM 3-2/10 Amp 250V Midget | 5920-0631 | Each | 25 |  |  |  | 0
537 | Fusetron, FNM 5 Amp 250V Midget | 5920-0634 | Each | 25 |  |  |  | 0
538 | Fusetron, FRN 100 Amp 250V | 5920-0604 | Each | 25 |  |  |  | 0
539 | Fusetron, FRN 1-1/4 Amp 250V | 5920-0586 | Each | 25 |  |  |  | 0
540 | Fusetron, FRN 125 Amp 250V | 5920-0605 | Each | 25 |  |  |  | 0
541 | Fusetron, FRN 2-8/10 Amp 250V | 5920-0587 | Each | 25 |  |  |  | 0
542 | Fusetron, FRN 25 Amp 250V | 5920-0595 | Each | 25 |  |  |  | 0
543 | Fusetron, FRN 45 Amp 250V | 5920-0599 | Each | 25 |  |  |  | 0
544 | Fusetron, FRN 70 Amp 250V | 5920-0602 | Each | 25 |  |  |  | 0
545 | Fusetron, FRN 80 Amp 250V | 5920-0704 | Each | 25 |  |  |  | 0
546 | Fusetron, FRN 90 Amp 250V | 5920-0603 | Each | 25 |  |  |  | 0
547 | Fusetron, FRS 2 Amp 600V | 5920-0611 | Each | 15 |  |  |  | 0
548 | Fusetron, FRS 60 Amp 600V | 5920-0617 | Each | 25 |  |  |  | 0
549 | Fusetron, T 20 Amp 250V | 5920-0655 | Each | 25 |  |  |  | 0
550 | Fusetron, T 30 Amp 250V | 5920-0656 | Each | 25 |  |  |  | 0
551 | Fustat, 15 Amp (bx) | 5920-6861 | Each | 25 |  |  |  | 0
552 | Fustat, 20 Amp (bx) | 5920-5080 | Each | 25 |  |  |  | 0
553 | Fustat, 4 Amp (bx) | 5920-0002 | Each | 25 |  |  |  | 0
554 | Fustat, 2-1/2 Amp (bx) | 5920-0001 | Each | 25 |  |  |  | 0
555 | Fustat Adapter, S 20 Amp | 5920-0649 | Each | 25 |  |  |  | 0
556 | Fustat Adapter, S 30 Amp | 5920-0650 | Each | 25 |  |  |  | 0
557 | Fustat Adapter, SA 15 Amp | 5920-0648 | Each | 25 |  |  |  | 0
558 | Fustat Adapter, SA 4 Amp | 5920-0647 | Each | 25 |  |  |  | 0
559 | Fustat, S 3-2/10 Amp | 5920-0640 | Each | 25 |  |  |  | 0
560 | Fustat, S 30 Amp | 5920-0645 | Each | 25 |  |  |  | 0
GROUP 9 - MISC. THERMOSTAT AND TEST EQUIPMENT ACCESSORIES CLOCKS, AND ELECTRICAL SERVICING AIDS
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Cost per unit | Extended Cost
557 | Cover, Thermostat, Clear, Kenall "Thermogard" TG-2 ONLY | 5975-1912 | Each | 5 |  |  |  | 0
558 | Clock, wall, 12", surface mounted, 120 volt, Edwards 1882, Bowman | 6210-0766 | Each | 325 |  |  |  | 0
559 | Clock, wall, 8", surface mounted, 120 volt, Edwards 1880, Bowman 9429-2310, or equal | 6210-0734 | Each | 150 |  |  |  | 0
560 | Leads, test, all weather, Amprobe VL-11R | 5975-1429 | Each | 5 |  |  |  | 0
561 | Kit, inline electrical splicing, 3M brand 82-A1 ONLY | 5975-1169 | Each | 5 |  |  |  | 0
562 | Kit, inline electrical splicing, 3M brand 82-A2 ONLY | 5975-1168 | Each | 10 |  |  |  | 0
563 | Tape, vinyl plastic, 3/4" x 66', 3M "Scotch" brand 88 ONLY | 8040-1173 | Roll | 600 |  |  |  | 0
564 | Tape, plastic, 3/4" x 66', Tomic GP-111, 3M 1700 or equal | 8040-1181 | Roll | 100 |  |  |  | 0
565 | Tape, rubber, 3/4" x 22', Bishop 150 or equal | 8040-1182 | Roll | 25 |  |  |  | 0
566 | Tape, friction, 3/4" x 66', Brookshire "Stayfast" F600 or equal | 8040-1183 | Roll | 10 |  |  |  | 0
567 | Wirenuts, (100 per box), Ideal brand 30-072 ONLY | 5975-0230 | Roll | 300 |  |  |  | 0
568 | Wirenuts, (100 per box), Ideal brand 30-073 ONLY | 5975-0229 | Box | 75 |  |  |  | 0
569 | Wirenuts, (100 per box), Ideal brand 30-074 ONLY | 5975-0228 | Box | 120 |  |  |  | 0
570 | Wirenuts, (100 per box), Ideal brand 30-076 ONLY | 5975-0227 | Box | 100 |  |  |  | 0
571 | Wirenuts, (50 per box), Ideal brand 30-454 ONLY | 5975-0226 | Box | 15 |  |  |  | 0
572 | Anchor, Plastic, Flange type, 1" lgth., Red Color, for 10-12 screw sizes, 1/4" drill size, (100 per box), Ideal 90-042 ONLY | 5120-3902 | Box | 150 |  |  |  | 0
573 | Terminal, female quick disconnect solder-less nylon pre-insulated, blue color, for 14-16 gauge wire, 3/16" blade width, (25 per box), Lawson 25288 or equal | 5940-2498 | Box | 10 |  |  |  | 0
574 | Terminal, butt connector, solderless nylon pre-insulated, yellow color, for 12-10 gauge wire, (25 per box), Lawson 25285 or equal | 5940-2452 | Box | 10 |  |  |  | 0
575 | Terminal, female quick disconnect, solder-less, vinyl pre-insulated, for 14-16 gauge wire, 1/4" blade width, (50 per box), Lawson 5822 or equal | 5940-2496 | Box | 5 |  |  |  | 0
576 | Terminal, butt connector, solderless, nylon pre-insulated, for 22-18 gauge wire, red color, (25 per box), Lawson 25258 or equal | 5940-2450 | Box | 25 |  |  |  | 0
577 | Terminal, butt connector, solderless, nylon pre-insulated, for 14-16 gauge wire, blue color, (25 per box), Lawson 25272 or equal | 5940-2451 | Box | 20 |  |  |  | 0
578 | Terminal, ring tongue, solderless, nylon pre-insulated, for 14-16 gauge wire, 8-10 stud size, blue color, (25 per box), Lawson 25262 or equal | 5490-2459 | Box | 10 |  |  |  | 0
579 | Terminal, ring tongue, solderless, nylon insulated for 18-22 gauge wire, with standard 1/4" barrel, 5-6 stud size, (25 per box), Lawson 25250 or equal | 5490-2453 | Box | 3 |  |  |  | 0
580 | Terminal, ring tongue, solderless, nylon insulated, for 14-16 gauge wire, 5-6 stud size, (25 per box), Lawson 25260 or equal | 5940-2457 | Box | 5 |  |  |  | 0
581 | Terminal, ring tongue, oversize width, solderless, nylon insulated, 14-16 gauge wire, 5-6 stud size, (25 per box). Lawson 25261 or equal | 5940-2458 | Box | 2 |  |  |  | 0
582 | Terminal, ring tongue, solderless, nylon insulated, for 14-16 gauge wire, 1/4" stud size, (25 per box), Lawson 25263 or equal | 5940-2460 | Box | 5 |  |  |  | 0
583 | Terminal, spade tongue, solderless, nylon insulated, for 14-16 gauge wire, 8-10 stud size, (25 per box), Lawson 25267 or equal | 5940-2464 | Box | 5 |  |  |  | 0
584 | Terminal, female quick slide flag, non-insulated, for 14-16 gauge wire, 1/4" tab width, (50 per box), Lawson 86086 or equal | 5940-2494 | Box | 10 |  |  |  | 0
585 | Terminal, Ring Tongue, Lawson 25277 or equal | 5940-2468 | Box | 10 |  |  |  | 0
586 | Terminal, Spade Tongue, Lawson 25282 or equal | 5940-2472 | Box of 50 | 10 |  |  |  | 0
587 | Terminal, Spade Tongue, Lawson 25265 or equal | 5940-2462 | Box of 50 | 10 |  |  |  | 0
588 | Terminal, Spade Tongue, Lawson 25266 or equal | 5940-2463 | Box of 50 | 10 |  |  |  | 0
589 | Terminal, Spade Flanged, Lawson 25257 or equal | 5940-2474 | Box of 50 | 15 |  |  |  | 0
590 | Terminal, Closed End, Conn, Lawson 58411 or equal | 5940-2475 | Box of 50 | 5 |  |  |  | 0
591 | Terminal, Hook, Tongue, Lawson 25454 or equal | 5940-2467 | Box of 50 | 5 |  |  |  | 0
592 | Duct sealant compound, Asbestos free, 1 lb. bag; Sepco "Duct-Seal" or equal | 5975-1332 | Bag | 5 |  |  |  | 0
593 | Thermostatic Delay Relays, 115 volts, Amperite 115N08T ONLY | 5920-0680 | Each | 5 |  |  |  | 0
594 | Thermostatic Delay Relays, 115 volts, Amperite 115N20T ONLY | 5920-0682 | Each | 5 |  |  |  | 0
595 | Guard, Thermostat TG-1 White | 5975-1911 | Each | 25 |  |  |  | 0
596 | Kit, Scotch 82A3 | 5975-1167 | Each | 10 |  |  |  | 0
597 | Lubricant, Ideal #31-378 | 5975-0222 | Each | 25 |  |  |  | 0
598 | Lubricant, Noalox, Ideal #30-030 | 5975-0225 | Each | 25 |  |  |  | 0
599 | Lubricant, Wirelube, Ideal #31-358 | 5975-0223 | Each | 25 |  |  |  | 0
600 | Tape, Pastic Blue | 8040-1179 | Each | 50 |  |  |  | 0
601 | Tape, Plastic Brown | 8040-1177 | Each | 50 |  |  |  | 0
602 | Tape, Plastic Green | 8040-1180 | Each | 50 |  |  |  | 0
603 | Tape, Plastic Orange | 8040-1174 | Each | 50 |  |  |  | 0
604 | Tape, Plastic Red | 8040-1176 | Each | 50 |  |  |  | 0
605 | Tape, Plastic Yellow | 8040-1178 | Each | 50 |  |  |  | 0
606 | Terminal, Closed End Lawson 5842 | 5940-2481 | Each | 15 |  |  |  | 0
607 | Terminal, Connector Lawson 25281 | 5940-2484 | Each | 15 |  |  |  | 0
608 | Terminal, Connector, 3 way Lawson 25458 | 5940-2492 | Each | 15 |  |  |  | 0
609 | Terminal, Femal Plug Lawson 5776 | 5940-2490 | Each | 15 |  |  |  | 0
610 | Terminal, Hook Tongue 25450 | 5940-2461 | Each | 15 |  |  |  | 0
611 | Terminal, Hook Tongue 25455 | 5940-2473 | Each | 15 |  |  |  | 0
612 | Terminal, Male Tab Lawson 25284 | 5940-2485 | Each | 15 |  |  |  | 0
613 | Terminal, Male Tab Lawson 25287 | 5940-2491 | Each | 15 |  |  |  | 0
614 | Terminal, Male Tab Lawson 25289 | 5940-2476 | Each | 15 |  |  |  | 0
615 | Terminal, Quick Disconnect Lawson 5798 | 5940-2489 | Each | 15 |  |  |  | 0
616 | Terminal, Quick Slide Lawson 81114 | 5940-2477 | Each | 15 |  |  |  | 0
617 | Terminal, Quick Slide F/M Lawson 25286 | 5940-2497 | Each | 15 |  |  |  | 0
618 | Terminal, Quick Slide 16-14 Lawson 81111 | 5940-2499 | Each | 15 |  |  |  | 0
619 | Terminal, Ring Tongue Lawson 25275 | 5940-2465 | Each | 15 |  |  |  | 0
620 | Terminal, Ring Tongue Lawson 25276 | 5940-2466 | Each | 15 |  |  |  | 0
621 | Terminal, Ring Tongue Lawson 25278 | 5940-2469 | Each | 15 |  |  |  | 0
622 | Terminal, Ring Tongue Lawson 25279 | 5940-2470 | Each | 15 |  |  |  | 0
623 | Terminal, Ring Tongue Lawson 25280 | 5940-2471 | Each | 15 |  |  |  | 0
624 | Terminal, Scotchlok Lawson 5764 | 5940-2483 | Each | 15 |  |  |  | 0
625 | Terminal, Snap Plug Lawson 25270 | 5940-2487 | Each | 15 |  |  |  | 0
626 | Terminal, Spade Flanged Lawson 25268 | 5940-2480 | Each | 15 |  |  |  | 0
627 | Terminal, Spade Flanged Lawson 25283 | 5940-2486 | Each | 15 |  |  |  | 0
628 | Time, Tork 7200 DPST | 6240-1157 | Each | 20 |  |  |  | 0
629 | Time, Tork 7202 DPST | 6240-1156 | Each | 20 |  |  |  | 0
SPECIAL NOTE: For Group 10 please list the unit price and manufacturer for each item using your percentage off offered. This pricing will be for evaluation purposes ONLY. Award will be made on the percentage off listed.
GROUP 10 – CUTLER HAMMER (PERCENTAGE OFF)
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Percentage off | Unit Price | Extended Cost
630 | CH 120, 1 pole, 20 amp. | 5925-1538 | Each | 20 | Cutler Hammer
631 | CH 220, 2 Pole, 20 amp. | 5925-1539 | Each | 20 | Cutler Hammer
632 | CHB 120, 1 pole, 20 amp | 5925-1540 | Each | 20 | Cutler Hammer
633 | CHB 220, 2 Pole, 20 amp. | 5925-1541 | Each | 20 | Cutler Hammer
634 | CHB 230, 2 pole, 30 amp. | 5925-1542 | Each | 20 | Cutler Hammer
635 | CHB 260, 2 Pole, 60 amp. | 5925-1543 | Each | 20 | Cutler Hammer
636 | Cutler Hammer Control Transformer C0075E2AFB | 5925-1544 | Each | 5 | Cutler Hammer
637 | Cutler Hammer Control Transformer C0050E2A | 5925-1545 | Each | 5 | Cutler Hammer
638 | Cutler Hammer Magnetic Starter AN16BNOAC, Size 0 | 5925-1546 | Each | 10 | Cutler Hammer
639 | Cutler Hammer Legend Plates w/Standard Text E 22NGP210 | 5925-1547 | Each | 10 | Cutler Hammer
640 | Cutler Hammer Selector Switches E 22JDB4Y1 | 5925-1548 | Each | 10 | Cutler Hammer
SPECIAL NOTE: For Group 11 please list the percentage off offered. Award will be made on the percentage off listed.
GROUP 11 – Percentage Off
Item No. | Description | PGCPS # | Unit | Est Qty | Manufacturer | ARO | Percentage off
644 | Advance Ballasts and Accessories | N/A | Each | 1000
645 | Allen Bradley Controls and Accessories | N/A | Each | 20
646 | American Electric Outdoor Lighting Fixtures and Accessories | N/A | Each | 20
647 | Amprobe Test Equipment and Accessories | N/A | Each | 20
648 | Arrow Hart Wiring Devices | N/A | Each | 200
649 | Asco Controls and Accessories | N/A | Each | 50
650 | Bryant Distribution Equipment. (Safety Switches, etc.) | N/A | Each | 50
651 | Bryant Wiring Devices | N/A | Each | 500
652 | Challenger (Federal Pacific) Distribution Equipment | N/A | Each | 30
653 | Crouse-Hinds Lighting Fixtures and Accessories | N/A | Each | 100
654 | Daybrite Lighting Fixtures and Accessories | N/A | Each | 100
655 | Dual-Lite Emergency Lighting Units and Accessories | N/A | Each | 50
656 | Ellenco Fire Alarm Parts and Accessories | N/A | Each | 200
657 | Exide Emergency Light Units and Accessories | N/A | Each | 50
658 | Furnas Controls and Accessories | N/A | Each | 50
659 | General Electric Fixture Accessories (Replacement Glass) | N/A | Each | 100
660 | General Electric Breakers and Accessories | N/A | Each | 200
661 | Holophane Fixtures and Accessories | N/A | Each | 50
662 | Hubbell Lighting Fixtures and Accessories | N/A | Each | 500
663 | Hubbell Wiring Devices | N/A | Each | 1000
664 | Ideal Industries Electrical Servicing Aids | N/A | Each | 200
665 | ITE Breakers and Accessories | N/A | Each | 50
666 | ITT Art Metal Exit Lights and Accessories | N/A | Each | 20
667 | ITT Landmark Lighting Fixtures and Accessories | N/A | Each | 20
668 | Kenall Lighting Fixtures and Accessories | N/A | Each | 50
669 | Keystone Lighting | N/A | Each | 300
670 | Kindorf (General Line) | N/A | Each | 200
671 | Leviton Wiring Devices and Accessories | N/A | Each | 1000
672 | Lightolier Lighting Fixtures and Accessories | N/A | Each | 500
673 | Lithonia Lighting Fixtures and Accessories | N/A | Each | 500
674 | Mobern Lighting Fixtures and Accessories | N/A | Each | 500
675 | Panduit Electrical Duct and Accessories | N/A | Each | 1000
676 | Perfectlite Lighting Fixtures and Accessories | N/A | Each | 50
677 | Prescolite Lighting Fixtures and Accessories | N/A | Each | 50
678 | RAB Lighting | N/A | Each | 100
679 | Sim-Kar Lighting Fixtures and Accessories | N/A | Each | 50
680 | Simplex Fire Alarm Systems Parts and Accessories | N/A | Each | 250
681 | Square D - General Line | N/A | Each | 300
682 | Stonco Lighting Fixtures and Accessories | N/A | Each | 50
683 | Tork Time Controls and Accessories | N/A | Each | 200
684 | Valmont Ballasts and Accessories | N/A | Each | 100
685 | Westinghouse Circuit Breakers, Controls, and Accessories | N/A | Each | 100
686 | Wiremold - General Line | N/A | Each | 200